## Troffer comparison
LED troffer cost comparison
https://www.lumaquote.com/post/led-troffer-retrofit-kit-vs-replacement
USD. The example inputs match the article. Replace the amber cells with your job costs.
Result | Retrofit kits | New fixtures
Installed selling price | 17990 | 25235 | Before sales tax
Customer investment after incentive | 17990 | 25235 | Selling price less the entered customer incentive
Annual energy-cost reduction | 2520 | 2610 | Electricity only
Simple payback (years) | 7.1389 | 9.6686 | Investment divided by positive annual energy savings
Amber = editable input. Gray = calculated result.
Job inputs
Input | Retrofit kits | New fixtures | Units / notes
Fixture quantity | 100 | 100 | count
Unit material cost | 70 | 100 | USD per fixture
Accessories per fixture | 5 | 6 | USD per fixture
Installation technician-hours per fixture | 0.5 | 0.75 | hours
Loaded labor cost per technician-hour | 75 | 75 | USD/hour; company overhead covered by margin
Project technician-hours | 12 | 12 | outside per-fixture installation
Disposal cost per fixture | 4 | 6 | USD
Equipment allowance | 300 | 300 | USD per project
Contingency fraction | 5% | 5% | Allowance on direct job cost
Target pricing margin | 25% | 25% | Selling price = cost base / (1 - margin)
Existing fixture input watts | 90 | 90 | including ballast
Proposed fixture input watts | 34 | 32 | assumed output and configuration
Annual lighting-on hours | 3000 | 3000 | hours/year
Electricity rate | 0.15 | 0.15 | USD/kWh
Confirmed customer incentive | 0 | 0 | USD. Reduces customer investment, not selling price.
Cost calculation
Cost | Retrofit kits | New fixtures
Main products | 7000 | 10000
Accessories | 500 | 600
Direct fixture labor | 3750 | 5625
Project labor | 900 | 900
Disposal | 400 | 600
Equipment | 300 | 300
Direct job cost | 12850 | 18025
Contingency allowance | 642.5 | 901.25 | Direct job cost × contingency
Estimated cost base | 13492.5 | 18926.25 | Direct job cost + contingency
Installed selling price | 17990 | 25235 | Cost base / (1 - margin)
Customer investment after incentive | 17990 | 25235 | Selling price less the entered incentive
Energy and payback
Measure | Retrofit kits | New fixtures
Existing annual electricity (kWh) | 27000 | 27000 | Quantity × existing input watts × hours / 1,000
Proposed annual electricity (kWh) | 10200 | 9600 | Quantity × proposed input watts × hours / 1,000
Annual electricity reduction (kWh) | 16800 | 17400 | Existing electricity less proposed electricity
Annual energy-cost reduction | 2520 | 2610 | Electricity reduction × electricity rate
Simple payback (years) | 7.1389 | 9.6686 | No positive energy savings = n.a.
Scope |  |  | Equivalent lighting and controls assumed. Verify the selected products.
Excluded |  |  | Sales tax, financing and maintenance savings.
Additional work |  |  | Price extra controls, emergency changes and ceiling repairs separately.
Margin |  |  | Covers business overhead and profit. It is not guaranteed net profit.